|  | ......................... pcs. .............................. € .............................. € GEZE overhead door closer TS 4000 with mechanical hold-open device for optional use, with infinitely adjustable closing force size 1 – 6 in accordance with EN 1154, closing force, closing speed and back check are front adjustable, with visual closing force display, standard installation on door leaf/hinge side Colour: ( ) silver-coloured ( ) dark bronze ( ) white ( ) acc. to RAL |
| --- | --- |